SECTION 122413.13 - BOTTOM-UP WINDOW SHADES
Draper, Inc. Bottom-Up FlexShade

Draper, Inc.; window shade products.

This section is based on the products of Draper, Inc., which is located at:

411 S.  Pearl Street

P.  O.  Box 425

Spiceland, IN 47385-0425

Tel:  (800) 238-7999

Fax:  (765)987-7142

Email:  drapercontract@draperinc.com

Web:  www.draperinc.com

Draper is a leader in the manufacture of window shades, projection screens, and gymnasium equipment.  Founded in 1902, Draper maintains a tradition of quality and service.  Draper products include FlexShade roller-operated and fixed window shades.

Window shades reflect light and heat from the sun, reducing the amount of energy required to cool the building.  Motorized window shades can automatically adjust to compensate for the changing shade requirements throughout the day.  DRAPER's white paper, Shades of LEED, provides an in-depth explanation of how our solar control shading systems can contribute to LEED points and credits.  In addition, shades can reduce or eliminate uncomfortable glare for workers, while still allowing ambient sunlighting and view-through to the outside.  The construction of window shades has become more friendly to the environment as well by including PVC-free fabrics, recyclable fabrics and lean manufacturing processes.

Our spectrum of fabric colors and styles is unmatched anywhere.  And we offer the broadest variety of operator styles in the industry.

This section can be used for specifying the motorized or manually operated Draper Bottom-Up FlexShade™  system.

GENERAL

SECTION INCLUDES

Please note that both the manually and the electrically operated, single-roller, bottom-up window shade systems come with 2 headboxes – one installed at the head of the window opening and the other installed at the sill of the window opening.  Although one head box is installed at the sill, it is identical to the head box that is installed at the head.  Therefore, whether they are installed at the head or the sill, they are each referred to in this specification as “head boxes.”

Single-Roller, Manually Operated, Bottom-Up Window Shade System:  Roll-up fabric window shade system including 2 head boxes (one at window head and one at window sill) and mounting hardware.

Single-Roller, Electrically Operated, Bottom-Up Window Shade System:  Motorized, roll-up fabric window shade system including 2 head boxes (one at window head and one at window sill) and mounting hardware.

Dual-Roller, Electrically Operated, Bottom-Up Window Shade System:  Motorized, roll-up fabric window shade system including head box, motorized operator, controls, and mounting hardware.

RELATED SECTIONS

Delete any sections below not relevant to this project; add others as required.

Section 061000 “Rough Carpentry:” Blocking for support of window shade hardware.

Section 079200 “Joint Sealants:” Sealants for perimeter of shade system.

Section 084413 “Glazed Aluminum Curtain Walls:” Openings to receive window shades.

Section 084423 “Structural-Sealant-Glazed Curtain Walls:” Openings to receive window shades.

Section 084113 “Aluminum-Framed Entrances and Storefronts:” Openings to receive window shades.

Section 084126 “All-Glass Entrances and Storefronts:” Openings to receive window shades.

Section 085000 “Windows:” Openings to receive window shades.

Section 085113 “Aluminum Windows:” Openings to receive window shades.

Section 085123 “Steel Windows:” Openings to receive window shades.

Section 085200 “Wood Windows:” Openings to receive window shades.

Section 085313 “Vinyl Windows:” Openings to receive window shades.

Section 085413 “Fiberglass Windows:” Openings to receive window shades.

Section 122400 “Window Shades:” Openings to receive window shades other than bottom-up window shades.

Division 26 - Electrical:  Electrical supply, conduit, and wiring for motorized window shades.

REFERENCES

Delete references from the list below that are not actually required by the text of the edited section.

NFPA 70 - National Electrical Code.

NFPA 701 - Fire Tests for Flame-Resistant Textiles and Films.

GREENGUARD Environmental Institute, Gold.

US Green Building Council (USGBC).

SUBMITTALS

Submit under provisions of Section 013300 “Submittal Procedures:”

Product Data:  Manufacturer's data sheets on each product specified, including:

Preparation instructions and recommendations.

Installation and maintenance instructions.

Styles, material descriptions, dimensions of individual components, profiles, features, finishes and operating instructions.

Storage and handling requirements and recommendations.

Mounting details and installation methods.

Typical wiring diagrams including integration of motor controllers with building management system, audiovisual and lighting control systems as applicable.

Include the following paragraph for projects with complex requirements for window treatment.  Delete if not required.

Shop Drawings:  Plans, elevations, sections, product details, installation details, operational clearances, wiring diagrams and relationship to adjacent work.

Delete the following paragraphs if LEED is not applicable.

LEED Submittals:  Provide documentation of how the requirements of Credit will be met.

Window Treatment Schedule:  For all roller shades.  Use same room designations as indicated on the Drawings, field verified window dimensions, quantities, type of shade, controls, fabric, and color, and include opening sizes and key to typical mounting details.

Delete Selection Samples paragraph if colors and shade fabrics have already been selected.

Selection Samples:  For each finish product specified, two complete sets of shade cloth options and aluminum finish color samples representing manufacturer's full range of available colors and patterns.

Verification Samples:  For each finished product specified, submit two complete sets of shade components, unassembled, demonstrating compliance with specified requirements.  Shade fabric sample and aluminum finish sample as selected, representing actual product, color, and patterns.  Mark face of material to indicate interior faces.

Maintenance Data:  Methods for maintaining window shades, precautions regarding cleaning materials and methods, instructions for operating hardware and controls.

Manufacturer's Certificates:  Certify products meet or exceed specified requirements.

QUALITY ASSURANCE

Manufacturer Qualifications:  Obtain window shades through one source from a single manufacturer with experience in manufacturing products comparable to those specified in this section.

NFPA Flame-Test:  Passes NFPA 701.  Materials tested shall be identical to products proposed for use.

Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

Mock-Up:  Provide a mock-up of one of each type of window shade assembly specified for evaluation of mounting, appearance and accessories.

Locate mock-up in [window] [windows] designated by Architect.

Do not proceed with remaining work until mock-up is accepted by Architect.

DELIVERY, STORAGE, AND HANDLING

Do not deliver window shades until building is enclosed and construction within spaces where shades will be installed is substantially complete.

Deliver products in manufacturer's original, unopened, undamaged containers with labels intact.

Label containers and shades according to Window Shade Schedule.

Store products in manufacturer's unopened packaging until ready for installation.

SEQUENCING

Ensure that locating templates and other information required for installation of products of this section are furnished to affected trades in time to prevent interruption of construction progress.

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

PROJECT CONDITIONS

Install window shades after finish work to windows is complete.

WARRANTY

Hardware and Shade Fabric:  Draper's standard one year limited warranty.

Motors and Controls:  Draper's standard five year limited warranty.

PRODUCTS

MANUFACTURERS

Basis of Design Products:  Subject to compliance with requirements, provide basis of design products identified in other PART 2 Articles below produced by Draper, Inc. 411 S.  Pearl; Spiceland, IN 47385-0425; Toll Free Tel:  800-238-7999; Tel:  765-987-7999; Email:  contract@draperinc.com ; Web:  www.draperinc.com; Window Shades.

Requests for substitutions will be considered in accordance with provisions of Section 012500 "Substitution Procedures.”

SINGLE-ROLLER, MANUALLY OPERATED, BOTTOM-UP WINDOW SHADE SYSTEM

System Description:

Manual version has XD Clutch - our premium window shade clutch designed for the most demanding applications.

Operation:  Manual.

Rollers:  Single roller at top and bottom.

Spring assist in top roller

Constant force spring in bottom roller.

Pocket style Headbox is not recommended for bottom roller.

Brackets, Fascia or Headbox.

Basis of Design Product:  Bottom-Up FlexShade™ with XD Clutch.

Roller Tubes:  Fabricated from steel or extruded aluminum.

Diameter, Wall Thickness, and Material:  As determined by manufacturer to accommodate shade size.

Fabric Attachment:  Manufacturer’s standard double sided adhesive specifically developed to attach coated textiles to metal and to eliminate horizontal impressions in fabric.

Headboxes:  Consists of aluminum fabrication with removable closure, endcaps, and back and top cover piece.

Bottom-Up FlexShades are available with aluminum headboxes. Ceiling/Wall style headbox consists of removable closure, back and top, and endcaps. Pocket style headbox consists of removable closure, U-shaped pocket and endcaps. Pocket Style is not recommended for bottom roller. Headbox is provided in two sizes. Refer to Draper product literature for required sizes based on window and roller size. If headbox is required, include one of the following paragraphs. Delete if not required.

Headbox Ceiling/Wall Style: Aluminum fabrication with removable closure, endcaps, and back and top cover piece.

Select one of the following finishes.

Finish:  Finish: Clear anodized.

Finish: [Black][White][Ivory][Bronze] powder coat.

Finish:  Custom powder coat as selected by the Architect.

Headbox, Pocket Style: Aluminum fabrication with removable closure, endcaps, and U-shaped pocket.

Select one of the following finishes.

Finish:  Finish: Clear anodized.

Finish: [Black][White][Ivory][Bronze] powder coat.

Finish:  Custom powder coat as selected by the Architect.

End Caps:  Stamped steel with universal design suitable for mounting to ceiling or jamb.  Provide size compatible with headbox size.

End caps are available with snap-on covers to match hardware finish. Delete if not required.

Covers:  Match fascia/headbox finish.

Fascia: L shaped aluminum extrusion to conceal shade roller and hardware.

Attachment: Snaps onto end caps without requiring exposed fasteners of any kind.

Mounting: Continuously across two or more shade bands as indicated on the Drawings.

Profile:  [Square][Radius].

Select one of the following finishes.

Finish:  Finish: Clear anodized.

Finish: [Black][White][Ivory][Bronze] powder coat.

Finish:  Custom powder coat as selected by the Architect.

Hem Bars:  Extruded aluminum hem bar attached to bottom of shade.

Hem bars do not retract into headbox.

Pulleys:  Provided to facilitate correct tracking of the lifting cable

Lifting Cable: 0.046 inch (1.17 mm) OD 7x19 strand low-stretch high fatigue nylon-coated cable.

Idle End Assembly:  Plastic idle end insert into roller will fit over steel pin and rotate on pin with use of sealed bearing.

Steel pin is attached to plastic bracket mounted inside the headbox.  Systems not using sealed bearings are not acceptable.

SINGLE-ROLLER, ELECTRICALLY OPERATED, BOTTOM-UP WINDOW SHADE SYSTEM

System Description:

Operation:  Electrical.

Motor:  110V Conventional.

Rollers:  Single roller at top and bottom.

Pocket style Headbox is not recommended for bottom roller.

Brackets, Fascia or Headbox.

Basis of Design Product:  Motorized Bottom-Up FlexShade™.

Roller Tubes:  Fabricated from steel or extruded aluminum.

Diameter, Wall Thickness, and Material:  As determined by manufacturer to accommodate shade size.

Manufacturer’s standard double sided adhesive specifically developed to attach coated textiles to metal and to eliminate horizontal impressions in fabric.

Headboxes:  Consists of extruded aluminum sections with endcaps.

Select one or more of the following headbox sizes and shapes.  If selecting more than one, be sure to indicate clearly on the drawings or describe clearly in the specifications where headboxes of each size and shape are located.

Size:  3-7/8 inches (98 mm) high by 3- 15/16 inches (100 mm) wide by length required for shade being provided.- [Standard][Curved] Headbox 4- 1/8 inches (105 mm).

Size:  4-11/16 inches (120 mm) high by 4-11/16 inches (120 mm) wide by length required for shade being provided.- [Standard][Curved] Headbox 4- 1/8 inches (105 mm).

End Caps:  Stamped steel with universal design suitable for mounting to ceiling or jamb.  Provide size compatible with headbox size.

End caps are available with snap-on covers to match hardware finish. Delete if not required.

Covers:  Match fascia/headbox finish.

Fascia: L shaped aluminum extrusion to conceal shade roller and hardware.

Attachment: Snaps onto end caps without requiring exposed fasteners of any kind.

Mounting: Continuously across two or more shade bands as indicated on the Drawings.

Profile:  [Square][Radius].

Select one of the following finishes.

Finish:  Finish: Clear anodized.

Finish: [Black][White][Ivory][Bronze] powder coat.

Finish:  Custom powder coat as selected by the Architect.

Hem Bars:  Extruded aluminum hem bar attached to bottom of shade.

Hem bars do not retract into headbox.

Pulleys:  Provided to facilitate correct tracking of the lifting cable

Lifting Cable: 0.046 inch (1.17 mm) OD 7x19 strand low-stretch high fatigue nylon-coated cable.

Idle End Assembly:  Plastic idle end insert into roller will fit over steel pin and rotate on pin with use of sealed bearing.

Steel pin is attached to plastic bracket mounted inside the headbox.  Systems not using sealed bearings are not acceptable.

Select one of the 6 types of motor options in the paragraph below and delete the ones that do not apply.  Refer to Shade Motor and Control System Article below for more information regarding motor and contol selection.  If multiple motor types are required, indicate the location of each on the Drawings or in the schedule at the end of this section.

Shade Motor.  [Standard Motor][Quiet standard motor][Radio technology motor][Quiet radio technology motor][Intelligent technology motor][Quiet intelligent technology motor].

DUAL-ROLLER, ELECTRICALLY OPERATED, BOTTOM-UP WINDOW SHADE SYSTEM

Dual roller configuration means that both the motorized and take-up rollers are located at the bottom of the window opening. The shade fabric is guided by small pulleys at the top of the window. The dual roller configuration is available with endcaps or fascia.

System Description:

Operation:  Electrical.

Motor:  110V Conventional, RTS or ILT Motors

Rollers:  Rollers at bottom, pulleys at top.

Brackets End caps and Dual Fascia.

Basis of Design Product:  Motorized Bottom-Up FlexShade™ with Dual Rollers.

Roller Tubes:  Fabricated from steel or extruded aluminum.

Diameter, Wall Thickness, and Material:  As determined by manufacturer to accommodate shade size.

Manufacturer’s standard double sided adhesive specifically developed to attach coated textiles to metal and to eliminate horizontal impressions in fabric.

Fascia: L shaped aluminum extrusion to conceal shade roller and hardware.

Attachment: Snaps onto end caps without requiring exposed fasteners of any kind.

Mounting: Continuously across two or more shade bands as indicated on the Drawings.

Select one of the following finishes.

Finish:  Finish: Clear anodized.

Finish: [Black][White][Ivory][Bronze] powder coat.

Finish:  Custom powder coat as selected by the Architect.

End Caps:  Stamped steel with universal design suitable for mounting to ceiling or jamb.  Provide size compatible with headbox size.

End caps are available with snap-on covers to match hardware finish. Delete if not required.

Covers:  Match fascia/headbox finish.

Hem Bars:  Extruded aluminum hem bar attached to bottom of shade.

Hem bars do not retract into headbox.

Pulleys:  Provided to facilitate correct tracking of the lifting cable

Lifting Cable: 0.046 inch (1.17 mm) OD 7x19 strand low-stretch high fatigue nylon-coated cable.

Idle End Assembly:  Plastic idle end insert into roller will fit over steel pin and rotate on pin with use of sealed bearing.

Steel pin is attached to plastic bracket mounted inside the headbox.  Systems not using sealed bearings are not acceptable.

Select one of the 6 types of motor options in the paragraph below and delete the ones that do not apply.  Refer to Shade Motor and Control System Article below for more information regarding motor and contol selection.  If multiple motor types are required, indicate the location of each on the Drawings or in the schedule at the end of this section.

Shade Motor.  [Standard Motor][Quiet standard motor][Radio technology motor][Quiet radio technology motor][Intelligent technology motor][Quiet intelligent technology motor].

FABRIC

Light Filtering Fabric:  PVC Coated Polyester.

Product Name:  Soltis 92.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

100 percent recyclable.

TexyLoop® polyester-PVC flexible composite material recycling technology.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

Certification:  OEKO-TEX® Standard 100.

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.015625 inch.

Average Fabric Weight: 12.4 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC Coated Polyester.

Product Name:  Soltis B92N.

Sustainability:

Manufacturer to supply GREENGUARD Gold.

100 percent recyclable.

TexyLoop® polyester-PVC flexible composite material recycling technology.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

Certification:  OEKO-TEX® Standard 100.

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.03125 inch.

Average Fabric Weight: 19.2 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated fiberglass.

Duplex Basketweave Fabric:  Light exterior color combined with dark interior color for thermal comfort and view-through.

Product Name:  Phifer SheerWeave® SW2701.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

Approximate Openness Factor: 1 percent.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated fiberglass.

Duplex Basketweave Fabric:  Light exterior color combined with dark interior color for thermal comfort and view-through.

Product Name:  Phifer SheerWeave® SW2703.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

Approximate Openness Factor: 3 percent.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated fiberglass.

Duplex Basketweave Fabric:  Light exterior color combined with dark interior color for thermal comfort and view-through.

Product Name:  Phifer SheerWeave® SW2705.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

Approximate Openness Factor: 5 percent.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated fiberglass.

Duplex Basketweave Fabric:  Light exterior color combined with dark interior color for thermal comfort and view-through.

Product Name:  Phifer SheerWeave® SW2710.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

Approximate Openness Factor: 10 percent.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  500 denier fiberglass, vinyl coated and woven into a 2 by 2 basketweave.

Product Name:  Phifer SheerWeave® SW2400.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

Treatment:  Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.019 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  500 denier fiberglass, vinyl coated and woven into a 2 by 2 basketweave.

Product Name:  Phifer SheerWeave® SW2500.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

Treatment:  Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Approximate Openness Factor: 1 percent.

Average Fabric Thickness: 0.024 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  500 denier fiberglass, vinyl coated and woven into a 2 by 2 basketweave.

Product Name:  Phifer SheerWeave® SW2600.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

Treatment:  Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Approximate Openness Factor: 10 percent.

Average Fabric Thickness: 0.017 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  500 denier fiberglass, vinyl coated and woven into a 2 by 2 basketweave.

Product Name:  Phifer SheerWeave® SW2900.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

Treatment:  Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Approximate Openness Factor: 5 percent.

Average Fabric Thickness: 0.017 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated fiberglass woven in a ribbed pattern.

Product Name:  Phifer SheerWeave® SW1000.

Sustainability:

Manufacturer to supply GREENGUARD Gold.

Lead Free: RoHS/Directive 2002/95/EC, US Consumer Product Safety Commission Section 101, ANSI/WCMA A 100.1 for lead content and REACH (EC 1907/2006) compliant.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 701 TM#2 (large-scale tests), pass.

NFPA 101 (Class A Rating).

UBC (Class I), BS 5867 2008 Part 2 Type B Performance.

Treatment:  Microban.

Approximate Openness Factor: 23 percent.

Average Fabric Thickness: 0.020 inch.

Average Fabric Weight: 8.80 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  500 denier fiberglass, vinyl coated and woven into a 2 by 2 basketweave.

Product Name:  Phifer SheerWeave® SW2000.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 101 (Class A Rating), UBC (Class 1).

Treatment:  Bacteria and Fungal Resistance: ASTM G 21 and ASTM G 22.

Approximate Openness Factor: 5 percent.

Average Fabric Thickness: 0.019 inch.

Average Fabric Weight: 14.26 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  500 denier fiberglass, vinyl coated and woven into a 2 by 2 basketweave.

Product Name:  Phifer SheerWeave® SW2100.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

NFPA 101 (Class A Rating), UBC (Class 1).

Treatment:  Bacteria and Fungal Resistance: ASTM G 21 and ASTM G 22.

Approximate Openness Factor: 10 percent.

Average Fabric Thickness: 0.019 inch.

Average Fabric Weight: 14.26 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated fiberglass.

Product Name:  Phifer SheerWeave® Basic 3%.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Lead Free: RoHS/Directive 2002/95/EC, US Consumer Product Safety Commission Section 101, ANSI/WCMA A 100.1 for lead content and REACH (EC 1907/2006) compliant.

Fire Classification:

NFPA 701 TM#1 (small-scale tests), pass.

California U.S. Title 19 (small scale).

NFPA 101 (Class A Rating).

UBC (Class I), BS 5867 2008 Part 2 Type B Performance.

CAN/ULC-S 109-03 (large and small scale).

NFPA 701 TM#2 (large scale) and CAN/CGSB2-4.162-M80.

Treatment:  Microban.

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.025 inch.

Average Fabric Weight: 16.4 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn woven in 2 by 2 basketweave.

Product Name:  E Screen ME-01 Series by Mermet.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

NFPA 701 TM#2 (large-scale tests).

Approximate Openness Factor: 1 percent.

Average Fabric Thickness: 0.016 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn woven in 2 by 2 basketweave.

Product Name:  E Screen ME-03 Series by Mermet.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

NFPA 701 TM#2 (large-scale tests).

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.016 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn woven in 2 by 2 basketweave.

Product Name:  E Screen ME-05 Series by Mermet.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

NFPA 701 TM#2 (large-scale tests).

Approximate Openness Factor: 5 percent.

Average Fabric Thickness: 0.016 inch.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn woven in 2 by 2 basketweave.

Product Name:  E Screen ME-10 Series by Mermet.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Certification:  OEKO-TEX® Standard 100.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

NFPA 701 TM#2 (large-scale tests).

Approximate Openness Factor: 10 percent.

Average Fabric Thickness: 0.016 inch.

Average Fabric Weight: 10.3 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn woven in 1 by 2-inch weave.

Product Name:  Mermet M Screen.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Certification:  OEKO-TEX® Standard 100.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

NFPA 701 TM#2 (large-scale tests).

Retain the next 3 subparagraphs if specifying Mermet M Screen with an openness factor of 3%, otherwise delete the next 3 subparagraphs.

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.022 inch.

Average Fabric Weight: 12.7 ounces per square yard.

Retain the next 3 subparagraphs if specifying Mermet M Screen with an openness factor of 5%, otherwise delete the next 3 subparagraphs.

Approximate Openness Factor: 5 percent.

Average Fabric Thickness: 0.022 inch.

Average Fabric Weight: 11.9 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn composed of 42 percent fiberglass and 58 percent vinyl woven in 2 by 2 basketweave pattern using 165 Tex yarn.

Product Name:  Mermet Natte.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

Treatment:

Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Bacteria Resistance rated, ASTM E2180 .

Width:  98 inches.

Approximate Openness Factor: 12 percent.

Average Fabric Thickness: 0.021 inch.

Average Fabric Weight: 13.9 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass woven mesh, dark on one side, light on the other.

Product Name:  T Screen 9803 by Mermet.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

Approximate Openness Factor: 3 percent.

Average Fabric Thickness: 0.028 inch.

Average Fabric Weight: 12.1 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn composed of 42 percent fiberglass and 58 percent vinyl woven in twill pattern using 165 Tex yarn.

Product Name:  Mermet Satine.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

Treatment:

Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Bacteria Resistance rated, ASTM E2180 .

Width:  98 inches.

Approximate Openness Factor: 5 percent.

Average Fabric Thickness: 0.030 inch.

Average Fabric Weight: 15.8 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  PVC coated fiberglass yarn composed of 42 percent fiberglass and 58 percent vinyl woven in 1 by 1 plain weave pattern using 165 Tex yarn.

Product Name:  Mermet Vienne.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Fire Classification:

California U.S. Title 19 (small scale).

NFPA 701 TM#1 (small-scale tests).

Treatment:

Bacteria and Fungal Resistance, ASTM G 21 and ASTM G 22.

Bacteria Resistance rated, ASTM E2180 .

Width:  98 inches.

Approximate Openness Factor: 10 percent.

Average Fabric Thickness: 0.021 inch.

Average Fabric Weight: 11.6 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated polyester.

Product Name:  Phifer SheerWeave® Suntex.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Lead Free: RoHS/Directive 2002/95/EC, US Consumer Product Safety Commission Section 101, ANSI/WCMA A 100.1 for lead content and REACH (EC 1907/2006) compliant.

Fire Classification:

NFPA 101 (Class A Rating).

California Technical Bulletin 117 Sect. E Part 1

UBC (Class 1).

Treatment:  Includes Microban additives.

Fungal Resistance, ASTM G 21 and ASTM G 22.

Bacteria Resistance rated, ASTM E2180.

Approximate Openness Factor: 10 percent.

Average Fabric Thickness: 0.039 inch.

Average Fabric Weight: 17.2 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Light Filtering Fabric:  Vinyl coated polyester.

Product Name:  Phifer SheerWeave® Suntex Design.

Sustainability:

GREENGUARD Gold certified as a low emitting fabric.

Manufacturer to supply GREENGUARD Gold.

Lead Free: RoHS/Directive 2002/95/EC, US Consumer Product Safety Commission Section 101, ANSI/WCMA A 100.1 for lead content and REACH (EC 1907/2006) compliant.

Fire Classification:

NFPA 101 (Class A Rating).

California Technical Bulletin 117 Sect. E Part 1

UBC (Class 1).

Treatment:  Includes Microban additives.

Fungal Resistance, ASTM G 21 and ASTM G 22.

Bacteria Resistance rated, ASTM E2180.

Approximate Openness Factor: 10 percent.

Average Fabric Thickness: 0.039 inch.

Average Fabric Weight: 17.2 ounces per square yard.

Color and pattern:  [<insert fabric color>, No.  <insert fabric number>][As selected by Architect from manufacturer’s full range of standard colors and patterns].

Retain the Window Size paragraph below if window size is known and uniform throughout the project.  If there are different window sizes in the project, copy and paste this paragraph once for each different size; designate a different window opening type for each different size; and provide the dimension for each window type.

If window sizes are unknown or there is a large number of different size windows, delete the paragraph below and be sure the window sizes are clearly indicated on the Drawings.

Window <Insert window designation used on Drawings> Size:  <insert dimension> inches wide by <insert dimension> inches tall.

CONTROLS, MANUAL

Clutch Operator: Thermoplastic with welded 0.354 inches (9 mm) primary steel post with rotational bearing to ensure smooth and quiet operation.

Overrunning design.

Positive mechanical engagement of drive mechanism to tube.

Color:  [White][Black]

Bead Chain:  [Stainless steel][Metal chain in [white] [or] [black]].

SHADE MOTOR AND CONTROL SYSTEM

Retain one of the following 6 motor types (Standard Motors, Quiet Standard Motors, Radio Technology Motors, Quiet Radio Technology Motors, Intelligent Technology Motors, or Quiet Intelligent Technology Motors) in the paragraphs below and delete the paragraphs which do not apply.  General descriptions of each Motor and Control system are included with each option below.  Contact Draper for more information concerning motor limitations.

Standard Motor:  115V AC tubular motor with 4-wire pigtail.  All controls and receivers will be external to the motor.  A Standard Motor can be tied into building systems using optional external control interfaces.  Only those controls listed in this paragraph will operate this motor.

Standard Motors:  110 VAC, single phase, 60 HZ, instantly reversible, lifetime lubricated, and equipped with internal thermal overload protector, electric brake, and pre-set accessible limit switches.  Tubular motor concealed inside each shade roller tube.

Retain one of the following 3 control types (Individual Control, Group Control, or Individual and Group Control) in the subparagraphs below and delete the ones not required.  For each control selected Retain the control device(s) required and delete those not required.

Individual Control:

Wall Switch:  [Toggle][Key operated] three position wall switch.

SC1 – ETL component allows 1 motor to operate on any input in any grouping.  Up to 4 programmable mid-window alignments from a wall switch for a total of 6 stops with full up and down.  No DIP switches required.  Controlled via low voltage input.

Group Control:

ISO relay – ETL component.  One ISO relay per motor.  Allows 110-120V group switching via toggle switch.  Allows for up to 12 motors on one switch.

GC4 – ETL assembly.  Panelized version with four ISO relays.  Up to three GC4s can be linked together for control of up to 12 motors from any single 15 amp double throw wall switch.

SGC1- ETL component allows 1 motor to operate on any input in any grouping.  No DIP switches required.  Controlled via low voltage input.

SGC4 – ETL assembly.  Panelized version with 4 ISO relays and low voltage control inputs.  Multiple SGC4s can be linked together to form larger groups.  Fully programmable.  No dip switches required.

Individual and Group Control:

SC1 – ETL component allows 1 motor to operate on any input in any grouping.  Up to 4 programmable mid-window alignments from a wall switch for a total of 6 stops with full up and down.  No DIP switches required.  Controlled via low voltage input.

SGC1- ETL component allows 1 motor to operate on any input in any grouping.  No DIP switches required.  Controlled via low voltage input.

SPGC4 – ETL assembly.  Panelized version of four SC1s.  Up to 4 programmable mid-window alignments from switch for a total of 6 stops with full up and down.  Fully programmable.  No DIP switches required.  Controlled via low voltage input.

Note that the IP interface requires a connection the building server to pull time data and an IP address for access to the interface.

IP Interface:  Interface for virtual switch, timed events, and priority events to be input on DDN.

Retain one of the following low voltage input option in the subparagraph below whenever an SC-1 Group or Individual Control is specified above.  Delete the low voltage subparagraph if it is not required.  If multiple types are required, indicate the location of each on the Drawings or in the schedule at the end of this section.

Low Voltage Inputs:

Intelliflex Wall Switches:  Appropriate low voltage switch to provide control via b programmable dry contacts.

IR Remote Control.

RF Remote Control.

Sun Sensor/Timer:  Allows one group per sensor to automatically move up and down at programmed sun levels and/or times.

RS 232/485:  Allows full control of shades via RS-232/485 output provided by others.

Quiet Standard Motor:  Motor operates at 44 Db.  Motor noise is approximately 30 percent less than standard tubular motors.  All controls and receivers will be external to the motor.  A Quiet Standard Motor can be tied into building systems using optional external control interfaces.  Only those controls listed will operate this motor.

Quiet Standard Motors:  110 VAC motor operates at 44 Db measured 3 feet from the motor.  Makes no audible clicks when motor stops or starts.  Tubular motor concealed inside each shade roller tube.

Retain one of the following 3 control types (Individual Control, Group Control, or Individual and Group Control) in the subparagraphs below and delete the ones not required.  For each control selected Retain the control device(s) required and delete those not required.

Individual Control:

Wall Switch:  [Toggle][Key operated] three position wall switch.

SC1 – ETL component allows 1 motor to operate on any input in any grouping.  Up to 4 programmable mid-window alignments from a wall switch for a total of 6 stops with full up and down.  No DIP switches required.  Controlled via low voltage input.

Group Control:

ISO relay – ETL component.  One ISO relay per motor.  Allows 110-120V group switching via toggle switch.  Allows for up to 12 motors on one switch.

GC4 – ETL assembly.  Panelized version with four ISO relays.  Up to three GC4s can be linked together for control of up to 12 motors from any single 15 amp double throw wall switch.

SGC1- ETL component allows 1 motor to operate on any input in any grouping.  No DIP switches required.  Controlled via low voltage input.

SGC4 – ETL assembly.  Panelized version with 4 ISO relays and low voltage control inputs.  Multiple SGC4s can be linked together to form larger groups.  Fully programmable.  No dip switches required.

Individual and Group Control:

SC1 – ETL component allows 1 motor to operate on any input in any grouping.  Up to 4 programmable mid-window alignments from a wall switch for a total of 6 stops with full up and down.  No DIP switches required.  Controlled via low voltage input.

SGC1- ETL component allows 1 motor to operate on any input in any grouping.  No DIP switches required.  Controlled via low voltage input.

SPGC4 – ETL assembly.  Panelized version of four SC1s.  Up to 4 programmable mid-window alignments from switch for a total of 6 stops with full up and down.  Fully programmable.  No DIP

Note that the IP interface requires a connection the building server to pull time data and an IP address for access to the interface.

IP Interface:  Interface for virtual switch, timed events, and priority events to be input on DDN.

If an SC-1 Group or Individual Control is specified above, Retain one of the following 5 low voltage input options (Intelliflex Wall Switches, IR Remote Control, RF Remote Control, Sun Sensor/Timer, or RS-232/485) in the subparagraphs below.  Delete this subparagraph in no SC-1 Group or Individual Control has been specified above.  If multiple types are required, indicate the location of each on the Drawings or in the schedule at the end of this section.

Low Voltage Inputs:

[Intelliflex Wall Switches:  Appropriate low voltage switch to provide control via b programmable dry contacts.]

[IR Remote Control.]

[RF Remote Control.]

[Sun Sensor/Timer:  Allows one group per sensor to automatically move up and down at programmed sun levels and/or times.]

[RS 232/485:  Allows full control of shades via RS-232/485 output provided by others.]

Radio Technology Motor:  Motor with built-in radio receiver.  3-wire pigtail allows for attachment of optional three prong plug for plug-an-play operation.  A Radio Technology Motor can be tied into building systems using optional external control interfaces.  Only those controls listed will operate this motor.

Radio Technology Motors:  110 VAC motor with built-in radio receiver.  Tubular motor concealed inside each shade roller tube.

Retain the control device(s) required and delete those not required.

Individual Control, Group Control  and Individual and Group Control:

[Single channel wireless handheld transmitter; [white][black].]

[Four channel wireless handheld transmitter; [white][black].]

[16-Channel wireless handheld transmitter; [white][silver].]

[Single channel wireless wall switch for radio motor control; [white][ivory].]

[Four channel wireless wall switch for radio motor control; [white][ivory].]

[RS-232/Dry Contact:  Allows for full control of radio motor shade via RS-232/dry contact interface.]

[Wireless Sun Sensor:  Allows operation of one group of radio motors per sensor.]

[Wireless Timer:  Allows operation of one group of radio motors per timer.]

[Repeater, 1 per project to extend range of transmitters.]

[Universal Interface (URTSI II):  Allows for full control of radio motor shade via RS-232/485 or IR signals.]

Quiet Radio Technology Motor:  Quiet motor with built-in radio receiver and operates at 44 Db.  Motor noise is approximately 30 percent less than standard tubular motor.  A Quiet Radio Technology Motor can be tied into building systems using optional external control interfaces.  Only those controls listed will operate this motor.

Quiet Radio Technology Motors:  110 VAC quiet motor with built-in radio receiver.  Tubular motor concealed inside each shade roller tube.

Retain the control device(s) required and delete those not required.

Individual Control, Group Control  and Individual and Group Control:

[Single channel wireless handheld transmitter; [white][black].]

[Four channel wireless handheld transmitter; [white][black].]

[16-Channel wireless handheld transmitter; [white][silver].]

[Single channel wireless wall switch for radio motor control; [white][ivory].]

[Four channel wireless wall switch for radio motor control; [white][ivory].]

[RS-232/Dry Contact:  Allows for full control of radio motor shade via RS-232/dry contact interface.]

[Wireless Sun Sensor:  Allows operation of one group of radio motors per sensor.]

[Wireless Timer:  Allows operation of one group of radio motors per timer.]

[Repeater, 1 per project to extend range of transmitters.]

[Universal Interface (URTSI II):  Allows for full control of radio motor shade via RS-232/485 or IR signals.]

Intelligent Technology Motor:  Motor with built-in low voltage controller with 3-wire pigtail and data cable.  No external motor control interface required.  Best for integration into building automation systems.  Available with optional three prong plug for plug-and-play operation.  Only those controls listed will operate this motor.

Intelligent Technology Motors:  110 VAC motor with built-in low voltage controller with 3-wire pig tail and data cable.  No external motor controls are required.  Available with optional three prong plug.  Tubular motor concealed inside each shade roller tube.

Retain the control device(s) required and delete those not required.

Individual Control, Group Control & Individual and Group Control:

3 Button RS 485 switch:  for up/stop/down control of a group.

6 button RS 485 switch:  for 2 groups up/stop/down or 1 group up/stop/down and 3 presets.

32 point BACnet interface:  Control of up to 32 groups with feedback via BACnet over IP.

Draper Digital Newtork.  DDN system of window shades with intelligent motors linked to an IP interface box and potentially other input devices such as hospital bed controls, wall switches and sun sensors.

Note that the IP interface requires a connection to the building server to obtain time data and IP address for access to the interface.

IP Interface:  Interface for virtual switch, timed events, and priority events.  Requires input on DDN.

Quiet Intelligent Technology Motor:  Motor with built-in low voltage controller with 3-wire pigtail and data cable.  Operates at 44 Db.  No external motor control interface required.  Best for integration into building automation systems.  Available with optional three prong plug for plug-and-play operation.  Only those controls listed will operate this motor.

Quiet Intelligent Technology Motors:  110 VAC quiet motor with built-in low voltage controller with 3-wire pig tail and data cable.  Motor operates at 44 Db measured 3 feet from the motor.  Makes no audible clicks when motor stops or starts.  Available with optional three prong plug.  Tubular motor concealed inside each shade roller tube.

Retain the control device(s) required and delete those not required.

Individual Control, Group Control & Individual and Group Control:

3 Button RS 485 switch:  for up/stop/down control of a group.

6 button RS 485 switch:  for 2 groups up/stop/down or 1 group up/stop/down and 3 presets.

32 point BACnet interface:  Control of up to 32 groups with feedback via BACnet over IP.

Draper Digital Newtork.  DDN system of window shades with intelligent motors linked to an IP interface box and potentially other input devices such as hospital bed controls, wall switches and sun sensors.

Note that the IP interface requires a connection to the building server to obtain time data and IP address for access to the interface.

IP Interface:  Interface for virtual switch, timed events, and priority events.  Requires input on DDN.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Coordinate requirements for blocking and structural supports to ensure adequate means for installation of window shades.

Coordinate requirements for power supply conduit, and wiring required for electrically operated window shades and controls.

INSTALLATION

Install in accordance with manufacturer's instructions.

Install window shades level, plumb, square, and true.

Allow proper clearances for window operation hardware.

Position shades level, plumb, and at proper height relative to adjacent construction.

Secure with fasteners recommended by manufacturer.

Include the following paragraph for if systems are to be used for high levels of light exclusion.  Delete if not applicable.

Install headbox, side channels, and sill channel with sealant specified in Section 079200 “Joint Sealants” to eliminate light leaks at perimeter of shade system.

TESTING AND DEMONSTRATION

Test window shades to verify that operating mechanism, fabric retainer, and other operating components are functional.

Correct deficiencies.

Demonstrate operation of shades to Owner's designated representatives.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

SCHEDULES

Retain Paragraph below to suit project requirements.  Identify products by name on the Drawings or alternately use this paragraph to define the location of each type of material to be used.  Delete if not required.

Refer to Drawings for window shade types and locations.

END OF SECTION